## Upute za ispunjavanje
Naručitelj: Genos d.o.o., Vatrogasna 112, Osijek Predmet nabave: Potrošni dijelovi i kalibracija Evid. broj nabave: 01/2022
UPUTE ZA ISPUNJAVANJE / INSTRUCTIONS
KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | Navesti kataloški broj ponuđene stavke koji je provjerljiv ili online ili kroz dostavljene kataloške izvatke - ili - opisivanje konkretno ponuđene stavke.
CIJENA/PRICE HRK | Jedinična cijena stavke
VRIJEDNOST/AMOUNT HRK BEZ PDV-a / WITHOUT VAT | Jedinična cijena stavke pomnožena sa količinom, bez PDV-a
TOTAL (bez PDVA) TOTAL (without VAT) | Ukupan zbroj iznosa svih ponuđenih stavaka bez PDV-a
PDV / VAT | Iznos PDV-a na ukupan iznos
TOTAL (s PDV-om) TOTAL (with VAT) | Ukupan iznos ponude (s PDV-om)
Ukoliko ponuditelj nudi tek pojedine grupe, ostale grupe ostavlja prazne
Za sve stavke koje potencijalno spominju marku, brend I slično, vrijedi pravilo "ili jednakovrijedno"

## Predmet nabave
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK BEZ PDV-a / WITHOUT VAT
1 | Grupa 1: POTROŠNI ZAMJENSKI DIJELOVI ZA VISOKO-UČINSKI TEKUĆINSKI KROMATOGRAF | Group 1: SPARE PARTS FOR ULTRA-HIGH-PERFORMANCE LIQUID CHROMATOGRAPH
1.1. | Brtva za klip glave, .0787 ID, s prirubnicom, UP30 brtva, original rezervni dio za uređaj Aquity H-Class UPLC | Head plunger seal, .0787 ID, flanged, UP30 seal, original spare part for Aquity H-Class UPLC | komad/piece | 12
1.2. | Klip glave, .0787 DIA X 1.415, original rezervni dio za uređaj Aquity H-Class UPLC | Plunger, .0787 DIA X 1.415, original spare part for Aquity H-Class UPLC | komad/piece | 12
1.3. | Nepovratni ventil primarne glave pumpe, I2V, original rezervni dio za uređaj Aquity H-Class UPLC | Cartridge, I2V, plate clamp, original spare part for Aquity H-Class UPLC | komad/piece | 12
1.4. | Nepovratni ventil akumulatorske glave pumpe, dvije razine, original rezervni dio za uređaj Aquity H Class UPLC | Check valve, double ball and seal, original spare part for Aquity H-Class UPLC | komad/piece | 12
1.5. | Nepovratni ventil primarne glave pumpe, mehanički, s oprugom, kompatibilan s nanoACQUITY UPLC, original rezervni dio za uređaj Aquity H Class UPLC | UPLC Primary Check Valve Assy, fits into the nanoACQUITY UPLC, spring loaded check valve, original spare part for Aquity H-Class UPLC | komad/piece | 12
1.6. | Kit za održavanje ACQUITY FLR detektora, sadrži lampu, original rezervni dio za za uređaj Aquity H-Class UPLC | ACQUITY FLR detector performance maintainance kit, contains lamp, original spare part for Aquity H-Class UPLC | komad/piece | 14
1.7. | Brtva za klip glave s dvostrukom oprugom, .045 original rezervni dio za uređaj Aquity M-Class UPLC | Head plunger seal, .045 dual spring, original spare part for Aquity M-Class UPLC | komad/piece | 8
1.8. | UHPLC amidna kolona, optimizirana za HILIC razdvajanje slobodnih glikana obilježenih s 2-AB-om i RapiFluor MS-om, sa hibridnim česticama koje sadrže premošćujući etilen i kućištem kolone koje reducira površinske interakcije neželjenih analita s kolonom, veličina pora: 130 Å, veličina čestica: 1.7 µm, i.d.: 2.1 mm, duljina: 100 mm, tlak do 15 000 Psi, maksimalna temperatura: 90 °C | UHPLC Amide Glycan column, optimized for HILIC separation of released 2-AB and RapiFluor-MS labeled glycans, with ethylene bridged hybrid particles and column hardware that reduces unwanted analyte surface interactions, pore size: 130 Å, particle size: 1.7µm, i.d.: 2.1 mm, length: 100 mm, up to 15 000 Psi, max temperature: 90 °C | komad/piece | 20
1.9. | UHPLC amidna kolona, optimizirana za HILIC razdvajanje slobodnih glikana obilježenih s 2-AB-om i RapiFluor MS-om, sa hibridnim česticama koje sadrže premošćujući etilen i kućištem kolone koje reducira površinske interakcije neželjenih analita s kolonom, veličina pora: 130 Å, veličina čestica: 1.7 µm, i.d.: 2.1 mm, duljina: 150 mm, tlak do 15 000 Psi, maksimalna temperatura: 90 °C | UHPLC Amide Glycan column, optimized for HILIC separation of released 2-AB and RapiFluor-MS labeled glycans, with ethylene bridged hybrid particles and column hardware that reduces unwanted analyte surface interactions, pore size: 130 Å, particle size: 1.7µm, i.d.: 2.1 mm, length: 150 mm, up to 15 000 Psi, max temperature: 90 °C | komad/piece | 10
1.10. | M1 ogledalo, tokareno dijamantom za FLR detektor | M1 MIRROR, DIAMOND TURNED for FLR detector | komad/piece | 14
1.11. | Ferule za UHPLC, sa stražnjim zaključavanjem, PEEK, 1/16 | Ferrule for the UHPLC, back-locking, PEEK, 1/16 | komad/piece | 40
1.12. | H-class glava pumpe, 15 KPSI | H-class Pump Head 15KPSI | komad/piece | 7
1.13. | Kućište za seal wash H class | H class seal wash housing | komad/piece | 7
1.14. | M-class glava pumpe, 20Kpsi | M-class pump head 20KPSI | komad/piece | 2
1.15. | Kučište za seal wash M-class dvostruka opruga | M-class seal wash housing dual spring | komad/piece | 2
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________