## Upute za ispunjavanje
Naručitelj: Genos d.o.o., Vatrogasna 112, Osijek Predmet nabave: Potrošni materijal Evid. broj nabave: 02/2022
UPUTE ZA ISPUNJAVANJE / INSTRUCTIONS
KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | Navesti kataloški broj ponuđene stavke koji je provjerljiv ili online ili kroz dostavljene kataloške izvatke - ili - opisivanje konkretno ponuđene stavke.
CIJENA/PRICE HRK | Jedinična cijena stavke
VRIJEDNOST/AMOUNT HRK BEZ PDV-a / WITHOUT VAT | Jedinična cijena stavke pomnožena sa količinom, bez PDV-a
TOTAL (bez PDVA) TOTAL (without VAT) | Ukupan zbroj iznosa svih ponuđenih stavaka bez PDV-a
PDV / VAT | Iznos PDV-a na ukupan iznos
TOTAL (s PDV-om) TOTAL (with VAT) | Ukupan iznos ponude (s PDV-om)
Ukoliko ponuditelj nudi tek pojedine grupe, ostale grupe ostavlja prazne
Za sve stavke u kojima se eventualno spominje marka, brend ili slično - vrijedi pravilo "ili jednakovrijedno".

## Grupa 2
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
1 | Grupa 2: VIJALE ZA PRIPREMU UZORAKA ZA UPLC | Group 2: VIALS FOR THE UPLC SAMPLE PREPARATION
1.1. | PP (polipropilen) vijale s navojem, volumena 300 μL , dimenzija 12 x 32mm s navojem 9mm, kompatibilne s uređajem Aquity H Class UPLC | 300μL PP Screw Vials, 12 x 32mm 9mm Thread, compatible with for Aquity H-Class UPLC | komad/piece | 120000
1.2. | Kapice za vijale s navojem 9 mm, PTFE septumom i prorezanim silikonom, kompatibilne s uređajem Aquity H Class UPLC | 9mm Screw Cap, PTFE septum with bonded pre-slit silicone, compatible with for Aquity H-Class UPLC | komad/piece | 120000
1.3. | PTFE/silicone polipropilenski čep, starburst septa, pakiranje od 100 komada, 11,5mmx6mmx9mm, za 13 mm promjera vijale | PTFE/silicone polypropylene seal, starburst cap, packaging pkg of 100, O.D. × H × I.D. 11.5 mm × 6 mm × 9 mm diam. 13 mm, for 13 mm snap ring | pakiranje/package | 4
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 5
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
2 | Grupa 5: NASTAVCI ZA RAININ PIPETE | Group 5: RAININ PIPETTE TIPS
2.1. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 2 μl, 10 μl i 20 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju , maksimalan radni volumen: 20 μl | Pipette tips compatible with Rainin LTS Lite Touch 2 μl, 10 μl and 20 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 20 μl | komad/piece | 144000
2.2. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 50 μl, 100 μl, 200 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 200 μl | Pipette tips compatible with Rainin LTS Lite Touch 50 μl, 100 μl, and 200 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 200 μl | komad/piece | 144000
2.3. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 300 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 300 μl | Pipette tips compatible with Rainin LTS Lite Touch 300 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 300 μl | komad/piece | 145920
2.4. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 1000 μl, nesterilni, pakirani u naslagane dvostruke stalke (2x96), posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 1000 μl | Pipette tips compatible with Rainin LTS Lite Touch 1000 μl pipettes, non-sterile, packed in stacked/layered double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 1000 μl | komad/piece | 145920
2.5. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 5000 μl, nesterilni, pakirani u pojedinačne zatvorene kutije po 24 nastavka, posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 5000 μl | Pipette tips compatible with Rainin LTS Lite Touch 5000 μl pipettes, non-sterile, packed in individual closed 24-tip racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 5000 μl | komad/piece | 5760
2.6. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 1000 μl, širokog otvora (1.5 mm), nesterilni, pakirani u pojedinačne zatvorene kutije po 96 nastavaka, posjeduju certifikat o čistoći (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 1000 μl | Pipette tips compatible with Rainin LTS Lite Touch 1000 μl pipettes, wide orifice (1.5 mm), non-sterile, packed in individual closed 96-tip racks, with available certificate for purity or equivalent (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 1000 μl | komad/piece | 145920
2.7. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 1000 μl, prethodno sterilizirani, s filterom, pakirani u dvostruke stalke (2x96), posjeduju certifikat o čistoći ili jednakovrijedno (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 1000 μl | Pipette tips compatible with Rainin LTS Lite Touch 1000 μl pipettes, pre-sterilized, filter, packed in double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 1000 μl | komad/piece | 145920
2.8. | Nastavci za pipete kompatibilni s Rainin LTS LiteTouch pipetama od 50 μl, 100 μl i 200 μl, prethodno sterilizirani, s filterom, pakirani u dvostruke stalke (2x96), posjeduju certifikat o čistoći ili jednakovrijedno (bez bioloških kontaminanata) za svaku proizvodnu seriju, optimizirani za višekanalno pipetiranje u visoko produktivnom laboratoriju, maksimalan radni volumen: 200 μl | Pipette tips compatible with Rainin LTS Lite Touch 50 μl, 100 μl, and 200 μl pipettes, pre-sterilized, filter, packed in double-96 racks, with available certificate for purity (free of biological contaminants) for each LOT, optimized for multi-channel pipetting in high-production environments, maximum working volume: 200 μl | komad/piece | 144000
TOTAL (bez PDVA) TOTAL (without VAT)
PDV / VAT
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 6
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
3 | Grupa 6: NASTAVCI ZA EPPENDORF PIPETE | Group 6: EPPENDORF PIPETTE TIPS
3.1. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 55 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C tijekom 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 20 do 300 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 55 mm, with minimal attachment and ejection forces and the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements (or equivalent), in size from 20 to 300 µL. Packaging up to 960 pieces in rack. |  | 33600
3.2. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 53 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C tijekom 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 2 do 200 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 53 mm, with minimal attachment and ejection forces and the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements (or equivalent), in size from 2 to 200 µL. Packaging up to 960 pieces in rack. | komad/piece | 33600
3.3. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 34 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C in 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 0.1 do 10 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 34 mm, with minimal attachment and ejection forces and the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements(or equivalent), in size from 0.1 to 10 µL. Packaging up to 960 pieces in rack. | komad/piece | 96000
3.4. | Nastavci za pipete optimizirani za Eppendorf pipete, bezbojni, duljine 40 mm, s minimalnim silama prilikom postavljanja i izbacivanja, s visokom razinom stegnutosti, optimalnim svojstvima vlaženja, visoke prozirnosti, certificiranih razina čistoće, mogu biti autoklavirani na 121 °C in 20 min. U skladu s DIN EN ISO 11607 zahtjevima (ili jednakovrijedno), u veličini od 0.1 do 20 µL, pakiranje do 960 komada u postolju. | Pipette tips optimized for Eppendorf pipettes, colorless, length 40 mm, with minimal attachment and ejection forces, the highest level of tightness, optimal wetting properties, high transparency, certified purity grades, autoclaved at 121 °C in 20 min. Meet DIN EN ISO 11607 requirements(or equivalent) in size from 0.1 to 20 µL. Packaging up to 960 pieces in rack. | komad/piece | 124800
3.5. | Nastavci za pipete s filterom optimizirani za Eppendorf pipete, bezbojni, duljine 34 mm. Dva sloja filtera pružaju zaštitu pipete i uzorka od aerosola i biomolekula. Slobodni od aditiva koji inhibiraju PCR, sterilni. U veličini od 0.1 do 10 µL, pakiranje do 960 komada u postolju. | Pipette tips with filter optimized for Eppendorf pipettes, colorless, length 34 mm. Two filter layers provide dual protection against aerosols and biomolecules to guard the pipette and sample. Free of PCR inhibiting additives and sterile, in size from 0.1 to 10 µL. Packaging up to 960 pieces in rack. | komad/piece | 19200
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 7
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
4 | Grupa 7: NASTAVCI ZA EPPENDORF I ERGOONE PIPETE ZA RAD S DNA | Group 7: EPPENDORF AND ERGOONE PIPETTE TIPS FOR USE IN DNA ANALYSIS
4.1. | Produženi nastavci s filterom, maksimalni volumen 1000-1250 µl, minimalna duljina 102 mm, za korišenje na ErgoOne® i Eppendorf® pipeti od 1000 ul. Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Pakiranje od 768-960 nastavaka (8 ili 10 kutijica x 96 ili 100 nastavka) | Extended Length Filter Tip, max volume 1000- 1250 µl , at least 102 mm, for use with: ErgoOne® and Eppendorf® pipette of 1000 ul. Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Sterile, and RNase, DNase, DNA and Pyrogen free. Pack of 768-960 tips - 96 or 100-tip rack (8-10 racks x 96-100 tips) | pakiranje/ packing | 5
4.2. | Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji je ponovo upotrebljiv te koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Mogućnost autoklavirarnja kutijice (za refill opciju) bez da se pritom mijenja kvaliteta i oblik, s opcijom slaganja kutija jedne na druge zbog uštede laboratorijskog prostora. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 20 µL. Pakiranje od 960 nastavaka (10 kutijica x96 nastavaka). | Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Reusable, clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling.The racks will be used for prolonged and repeat use so it should be autoclavable while retaining stability, strength and shape of the tips. Stackable - the racks should be designed to stack safely on top of one another to help save valuable lab space. Ideal for multi-channels pipettes with secure tip fit across all channels. 96 tips in rack. For volumes from 1 to 20 µL. Pack of 960 tips (10 racks x 96 tips). | pakiranje/ packing | 4
4.3. | Nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 20 µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 20 µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 4
4.4. | Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji je ponovo upotrebljiv te koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Mogućnost autoklavirarnja kutijice (za refill opciju) bez da se pritom mijenja kvaliteta i oblik, s opcijom slaganja kutija jedne na druge zbog uštede laboratorijskog prostora. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 200 µL. Pakiranje od 960 nastavaka (10 kutijica x96 nastavaka). | Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Reusable, clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling.The racks will be used for prolonged and repeat use so it should be autoclavable while retaining stability, strength and shape of the tips. Stackable - the racks should be designed to stack safely on top of one another to help save valuable lab space. Ideal for multi-channels pipettes with secure tip fit across all channels. 96 tips in rack. For volumes from 1 to 200 µL. Pack of 960 tips (10 racks x 96 tips). | pakiranje/ packing | 4
4.5. | Nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 200 µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 200 µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 3
4.6. | Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji je ponovo upotrebljiv te koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Mogućnost autoklavirarnja kutijice (za refill opciju) bez da se pritom mijenja kvaliteta i oblik, s opcijom slaganja kutija jedne na druge zbog uštede laboratorijskog prostora. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 1000 µL. Pakiranje od 960 nastavaka (10 kutijica x96 nastavaka). | Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Reusable, clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling.The racks will be used for prolonged and repeat use so it should be autoclavable while retaining stability, strength and shape of the tips. Stackable - the racks should be designed to stack safely on top of one another to help save valuable lab space. Ideal for multi-channels pipettes with secure tip fit across all channels. 96 tips in rack. For volumes from 1 to 1000 µL. Pack of 960 tips (10 racks x 96 tips). | pakiranje/ packing | 4
4.7. | Nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 1000 µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 1000 µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 4
4.8. | Produženi nastavci za nadopunu (refill): Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Visokoučinkoviti HDPE filter, bez aditiva, koji je >99% aerosol nepropustan te sprječava kontminaciju uzoraka. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Definirane graduacije (graduirani tipsevi). Pametan i jednostavan sistem nadopune koji smanjuje količinu plastike u laboratoriju i plastike za recikliranje. Pogodni za multikanalne pipete, pri čemu tipsevi jednako pouzdano nasjedaju na sve kanale. 96 komada u stalku (kutijici). Za volumene od 1 do 20 XL µL, pakiranje od 960 nastavaka (10 refill kutijica x 96 nastavaka) za nadopunu postojećih kutijica - brzo i jednostavna nadopuna, individualno pakiranje u kojem su nastaci u potpunosti zaštićeni s ciljem spriječavanja njihovog potencijanog ugrožavanja sterilnosti. | Extended Refill tips: Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Highly effective HDPE filter- >99% protects against aerosol cross-contamination without trapping samples. No additives to interfere with samples. Sterile, and RNase, DNase, DNA and Pyrogen free. Clear and defined graduations (graduated tips). Ideal for multi-channels pipettes with secure tip fit across all channels. Clever and easy to use refill system which reduces the amount of new plastic coming into laboratory and minimize the plastic for recycling. Ideal for multi-channels pipettes with secure tip fit across all channels. For volumes from 1 to 20 XL µL. Pack of 960 tips (10 refills x 96 tips) - to refill existing racks, quick and easy to load, individually wrapped, sterility shuld not be compromised during racking. | pakiranje/ packing | 3
4.9. | Nastavci s filterom, graduirani, tzv. Gilson stil, volumen 5000 µl, Čisti polipropilenski nastavci za pipete, glatke površine koji ne zadržavaju uzorak. Sterilni te ne sadrže RNA-ze, DNA-ze, DNA i pirogene. Pakiranje od 500 nastavaka (10 kutijica x 50 nastavka) | 5000 µl Gilson-Style Graduated Macro Filter Tip, For use with: ErgoOne® pipette. Pure, virgin polypropylene tips, smooth surface to reduce sample retention. Sterile, and RNase, DNase, DNA and Pyrogen free. Pack of 500 tips - 50-tip rack (10 racks x 50 tips) | pakiranje/ packing | 3
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 8
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
5 | Grupa 8: MATERIJAL ZA INKUBACIJU UZORAKA U PLOČICAMA | Group 8: MATERIAL FOR INCUBATION OF SAMPLES STORED IN PLATES
5.1. | Ljepljivi filmovi za PCR pločice s 96 jažica (dimenzije 135 x 80 mm), prozirni, nesterilni, neprobojni, koji se mogu odlijepiti bez zaostajanja ljepljivog materijala nakon izlaganja temperaturi od 60 stupnjeva, prikladni za inkubacije u širokom temperaturnom rasponu: od -20°C do 110°C | Adhesive PCR seal for 96-well plates (dimensions 135 x 80 mm), clear, non-sterile, non-pierceable, peelable without leaving sticky residuals after temperature incubation at 60 °C, suitable for high range temperature incubations: -20°C to 110°C | komad/piece | 3000
5.2. | Strip kapice za reakcijske tubice/PCR pločice, 8 stripova, polipropilenske, ravne, optički transparentne, kompatibilne s Thermo i 4titude PCR pločicama, pojedinačno pakirano 12 stripova sa po 8 spojenih kapica, pakiranja od 300 komada, pogodne za inkubaciju na -20°C, s dostupnim tehničkim nacrtom | Strips of sealing caps, 8-strip, polypropylene, flat, optically clear, compatible with Thermo and 4titude PCR plates, individual packagings of twelve 8-strip caps, packaging of 300, suitable for incubation at -20°C, with available technical drawing | komad/piece | 8400
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 9
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
6 | Grupa 9: TUBICE / KAPICE | Group 9: TUBES / CAPS
6.1. | Reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne s ravnom kapicom, volumen: 5 ml | Reaction tubes, polypropylene, transparent, with attached flat cap, volume: 5 ml | komad/piece | 6000
6.2. | Reakcijske tubice/epruvete za mikrocentrifugiranje za smanjeni gubitak proteina, polipropilenske, transparentne s ravnom kapicom, do 18 000 x g, volumen: 1.5 - 2 ml | Microcentrifuge tubes for minimized protein loss, polypropylene, transparent, with attached flat cap, up to 18 000 x g, volume: 1.5 - 2 ml | komad/piece | 6000
6.3. | Reakcijske tubice/epruvete za centrifugiranje dimenzija približno 30 mm OD, 115 mm duljine, polipropilenske, s polietilenskim ravnim čepom za zatvaranje, transparentne s označenom graduacijom, sterilne, do 16 000 x g, volumen: 50 ml | Centrifuge tube, approximatelly 30 mm O.D., 115 mm length, polypropylene, with polyethylene flat-top screw cap, clear, with printed graduations, sterile, up to 16 000 x g, volume: 50 ml | komad/piece | 1200
6.4. | Reakcijske tubice/epruvete za centrifugiranje dimenzija približno 17 mm OD, 120 mm duljine, polipropilenske, s polietilenskim ravnim čepom za zatvaranje, transparentne s označenom graduacijom, sterilne, do 16 000 x g, volumen: 15 ml | Centrifuge tube, approximatelly 17 mm O.D., 120 mm length, polypropylene, with polyethylene flat-top screw cap, clear, with printed graduations, sterile, up to 16 000 x g, volume: 15 ml | komad/piece | 1200
6.5. | Reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne, graduirane, s ravnom kapicom, do 20 000 x g, volumen: 1.5 - 1.7 ml | Microcentrifuge tubes, polypropylene, transparent, graduated, with attached flat cap, up to 20 000 x g, volume: 1.5 - 1.7 ml | komad/piece | 10000
6.6. | Reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne, graduirane, s ravnom kapicom, do 20 000 x g, volumen: 2 ml | Microcentrifuge tubes, polypropylene, transparent, graduated, with attached flat cap, up to 20 000 x g, volume: 2 ml | komad/piece | 10000
6.7. | PCR reakcijske tubice/epruvete za centrifugiranje, polipropilenske, transparentne, s ravnom kapicom, do 20 000 x g, volumen: 0.5 ml | PCR tubes, polypropylene, transparent, with flat cap, up to 20 000 x g, volume: 0.5 ml | komad/piece | 10000
6.8. | PCR strip reakcijske tubice, 8 tubica u stripu, polipropilenske, transparentne, volumen: 0.2 ml | PCR strip tubes, 8-strips, polypropylene, transparent, volume: 0.2 ml | komad/piece | 1200
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 10
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
7 | GRUPA 10 - Laboratorijske rukavice | GROUP 10 - Laboratory gloves
7.1 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina XS, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size XS, packed in boxes (100-200 per box) | komad/piece | 14000
7.2 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina S, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size S, packed in boxes (100-200 per box) | komad/piece | 50000
7.3 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina M, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size M, packed in boxes (100-200 per box) | komad/piece | 45000
7.4 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina L, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size L, packed in boxes (100-200 per box) | komad/piece | 20000
7.5 | Jednokratne nitrilne (NBR) zaštitne rukavice, nesterilne, bez pudera, klasa medicinskih proizvoda I (93/42/EEC), PPE kategorija III (89/686/EEC)-ili jednakovrijedno, neprobojnost po EN 455-1: AQL 1.5-ili jednakovrijedno, udovoljava standardima norme EN 374-ili jednakovrijedno, veličina XL, pakirane u kutije (po 100-200 komada) | Single use nitrile (NBR) gloves, nonsterile, powder free, medical device class I (93/42/EEC), PPE Category III (89/686/EEC)-or equivalent, impermeability as per EN 455-1: AQL 1.5-or equivalent, conforms to standards of EN 374-or equivalent, size XL, packed in boxes (100-200 per box) | komad/piece | 5000
7.6. | Jednokratne rukavice - nitrilne, bez pudera. Lagane, udobne rukavice izuzetnog prianjanja. Izuzetno meka i jaka rukavica koja pruža poboljšanu taktilnu osjetljivost. Pogodne za rad koji zahtijeva veliku spretnost. Dugačke minimalno za potpuno prekrivanje zgloba (poželjno 245 mm). Udovoljava zahtjevima: • Rizik od mikroorganizama – prema EN ISO 374-5:2016 (ili jednakovrijedno): ispunjava ISO 16604:2004 (ili jednakovrijedno) koji propisuje visoku zaštitu od patogena (bakterija, gljivica i virusa) • Visoka zaštita od opasnih kemikalija – minimalno tip B, prema EN ISO 374-1:2016 (ili jednakovrijedno) • Otpornost – prema EN 374-2:2014 Poželjna razina 3, AQL od 0.65 (ili što bliže toj vrijednosti, do max 1.5) • Medicinski proizvodi klase I (MDD 93/42 / EEC) • Kategorija II ili III osobne zaštitne opreme (PPE - EU Regulation 2016/425 ili jednakovrijedno). Prednost: • s teksturom prstiju • debljina na području dlana (mm) 0.07 • debljina na području prstiju (mm) 0.11 • minimizira rizik od ergonomskih ozljeda ruku Veličina S, upakirane u kutije (prednost: 250 rukavica po kutiji). | Disposable gloves - nitrile, powder-free. Lightweight, comfort glove with exceptional fit. An extremely soft and strong glove that provides improved tactile sensitivity. Ideal for work that requires great dexterity. A Long enough to provide full cover over the wrist (preferably 245 mm). In compliance with: • Requirements for micro-organisms risks - for EN ISO 374-5 (or equivalent) they fulfill the ISO 16604:2004 (or equivalent) which states the high protection against penetration by blood-borne pathogens (bacteria, fungi and virus). • High protection against chemicals and micro-organisms - at least Type B/ EN ISO 374-1 (or equivalent) • Protection against penetration by micro-organisms - EN 374-2:2014, Acceptable Quality Level (AQL) of 0.65 (the closest to that value but not more than 1.5) • Medical device class I (93/42/EEC) • PPE Category III (PPE - EU Regulation 2016/425 or equivalent) Advantage: • textured fingers • Palm Thickness (mm) 0.07-0.11 • Finger Thickness (mm) 0.11-0.18 • they minimize the risk of ergonomic hand injuries Size S, packed in boxes (advantage: 250 gloves per box). | komad/piece | 5000
7.7. | Jednokratne rukavice - nitrilne, bez pudera. Lagane, udobne rukavice izuzetnog prianjanja. Izuzetno meka i jaka rukavica koja pruža poboljšanu taktilnu osjetljivost. Pogodne za rad koji zahtijeva veliku spretnost. Dugačke minimalno za potpuno prekrivanje zgloba (poželjno 245 mm). Udovoljava zahtjevima: • Rizik od mikroorganizama – prema EN ISO 374-5:2016 (ili jednakovrijedno): ispunjava ISO 16604:2004 (ili jednakovrijedno) koji propisuje visoku zaštitu od patogena (bakterija, gljivica i virusa) • Visoka zaštita od opasnih kemikalija – minimalno tip B, prema EN ISO 374-1:2016 (ili jednakovrijedno) • Otpornost – prema EN 374-2:2014 Poželjna razina 3, AQL od 0.65 (ili što bliže toj vrijednosti, do max 1.5) • Medicinski proizvodi klase I (MDD 93/42 / EEC) • Kategorija II ili III osobne zaštitne opreme (PPE - EU Regulation 2016/425 ili jednakovrijedno). Prednost: • s teksturom prstiju • debljina na području dlana (mm) 0.07 • debljina na području prstiju (mm) 0.11 • minimizira rizik od ergonomskih ozljeda ruku Veličina M, upakirane u kutije (prednost: 250 rukavica po kutiji). | Disposable gloves - nitrile, powder-free. Lightweight, comfort glove with exceptional fit. An extremely soft and strong glove that provides improved tactile sensitivity. Ideal for work that requires great dexterity. Long enough to provide full cover over the wrist (preferably 245 mm). In compliance with: • Requirements for micro-organisms risks - for EN ISO 374-5 (or equivalent) they fulfill the ISO 16604:2004 (or equivalent) which states the high protection against penetration by blood-borne pathogens (bacteria, fungi and virus). • High protection against chemicals and micro-organisms - at least Type B/ EN ISO 374-1 (or equivalent) • Protection against penetration by micro-organisms - EN 374-2:2014, Acceptable Quality Level (AQL) of 0.65 (the closest to that value but not more than 1.5) • Medical device class I (93/42/EEC) • PPE Category III (PPE - EU Regulation 2016/425 or equivalent) Advantage: • textured fingers • Palm Thickness (mm) 0.07 • Finger Thickness (mm) 0.11 • they minimize the risk of ergonomic hand injuries Size M, packed in boxes (advantage: 250 gloves per box). | komad/piece | 2500
7.8. | Jednokratne rukavice - nitrilne, bez pudera. Lagane, udobne rukavice izuzetnog prianjanja. Izuzetno meka i jaka rukavica koja pruža poboljšanu taktilnu osjetljivost. Pogodne za rad koji zahtijeva veliku spretnost. Dugačke minimalno za potpuno prekrivanje zgloba (poželjno 245 mm). Udovoljava zahtjevima: • Rizik od mikroorganizama – prema EN ISO 374-5:2016 (ili jednakovrijedno): ispunjava ISO 16604:2004 (ili jednakovrijedno) koji propisuje visoku zaštitu od patogena (bakterija, gljivica i virusa) • Visoka zaštita od opasnih kemikalija – minimalno tip B, prema EN ISO 374-1:2016 (ili jednakovrijedno) • Otpornost – prema EN 374-2:2014 Poželjna razina 3, AQL od 0.65 (ili što bliže toj vrijednosti, do max 1.5) • Medicinski proizvodi klase I (MDD 93/42 / EEC) • Kategorija II ili III osobne zaštitne opreme (PPE - EU Regulation 2016/425 ili jednakovrijedno). Prednost: • s teksturom prstiju • debljina na području dlana (mm) 0.07 • debljina na području prstiju (mm) 0.11 • minimizira rizik od ergonomskih ozljeda ruku Veličina L, upakirane u kutije (prednost: 250 rukavica po kutiji). | Disposable gloves - nitrile, powder-free. Lightweight, comfort glove with exceptional fit. An extremely soft and strong glove that provides improved tactile sensitivity. Ideal for work that requires great dexterity. Long enough to provide full cover over the wrist (preferably 245 mm). In compliance with: • Requirements for micro-organisms risks - for EN ISO 374-5 (or equivalent) they fulfill the ISO 16604:2004 (or equivalent) which states the high protection against penetration by blood-borne pathogens (bacteria, fungi and virus). • High protection against chemicals and micro-organisms - at least Type B/ EN ISO 374-1 (or equivalent) . • Protection against penetration by micro-organisms - EN 374-2:2014, Acceptable Quality Level (AQL) of 0.65 (the closest to that value but not more than 1.5) • Medical device class I (93/42/EEC) • PPE Category III (PPE - EU Regulation 2016/425 or equivalent) Advantage: • textured fingers • Palm Thickness (mm) 0.07 • they minimize the risk of ergonomic hand injuries • Finger Thickness (mm) 0.11 Size L, packed in boxes (advantage: 250 gloves per box). | komad/piece | 2500
TOTAL (bez PDVA) TOTAL (without VAT)
PDV / VAT
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 13
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
8 | Grupa 13: ORGANSKA OTAPALA | Group 13: ORGANIC SOLVENTS
8.1. | 2-propanol ACS reagens 99.5%, pakiranje do 3 L | 2-propanol ACS reagent 99.5%, packaging up to 3 L | l | 40
8.2. | 2-propanol LC-MS >=99.9%, pakiranje do 3 L | 2-propanol LC-MS >=99.9%, packaging up to 3 L | l | 40
8.3. | Acetonitril, čistoće LC-MS, pojedinačna pakiranja do 3 L | Acetonitrile LC MS grade, individual packaging up to 3 L | l | 1100
8.4 | Acetonitril HPLC gradijent kvalitete, pakiranje do 3 L | Acetonitril HPLC gradient grade, packaging up to 3 L | l | 800
8.5. | Etanol, nedenaturirani, apsolutni, puriss.p.a., >=99,8% (GC), pojedinačna pakiranja do 3 L | Ethanol, nondenatured, absolute, puriss.p.a., >=99,8% (GC), individual packaging up to 3 L | l | 70
8.6. | Etanol denaturirani, 95% PH. EUR (ili jednakovrijedno). Pa, pojedinačna pakiranja do 10 L | Ethanol denatured, 95% PH. EUR (or equivalent). Pa, individual packaging up to 10 L | l | 130
8.7. | Metanol prikladan za LC-MS, pakiranje do 3 L | Methanol LC-MS grade, packaging up to 3 L | l | 50
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
TOTAL (s PDV-om) TOTAL (with VAT)
| Datum, mjesto: | M.P. Za ponuditelja:
____________________

## Grupa 15
RB | OPIS | DESCRIPTION | JEDINICA MJERE/UNIT OF MEASURE | KOLIČINA/QUANTITY | KATALOŠKI BROJ ILI OPIS CATALOGUE NUMBER OR DECRIPTION | CIJENA/PRICE HRK | VRIJEDNOST/AMOUNT HRK
9 | Grupa 15: KEMIKALIJE ZA PRIMJENU U MOLEKULARNOJ BIOLOGIJI | Group 15: CHEMICALS FOR MOLECULAR BIOLOGY APPLICATIONS
9.1. | Kompleks 2-metilpiridin borana (2-pikolin borana), redukcijsko sredstvo za obilježavanje oligosaharida reakcijom reduktivne aminacije. Čistoća: 95%, pakiranja do 10 g | 2-Methylpyridine borane complex solution (2-Picoline borane complex), reducing agent for the labeling of oligosaccharides by reductive amination. Assay: 95%, packaging up to 10 g | g | 50
9.2. | Kalijev klorid (KCl), čistoće za molekularnu biologiju, pojedinačnopakiranje do 0.5 kg | Potassium chloride (KCl) molecular biology grade, individual packaging up to 0.5 kg | kg | 3
9.3. | Natrijev dodecil-sulfat (SDS), ultračist, za primjenu u molekularnoj biologiji, pogodan za elektroforezu, prah, pojedinačno pakiranje do 1 kg | Sodium dodecil sulfate (SDS), UltraPure, suitable for molecular biology, suitable for electrophoresis, powder, individual packaging up to 1 kg | kg | 1
9.4. | Poliakrilamidna zrnca veličine od 45-90 um, za kromatografiju isključenem po veličini i gel filtraciju u rasponu od 1500 do 20000 daltona, izrazite hidrofilnosti, u pakiranju do 100 g | Polyacrylamide beads, size 45-90 um, for size exclusion cromatography and gel filztration in the range starting from 1500 up to 20000 daltons, highly hidrophylic, individual packaging up to 100 g. | g | 900
9.5. | Tris(hidroksimetil)aminometan, za molekularnu biologiju, >=99.8%, pojedinačna pakiranja do 1 kg | Tris(hydroxymethyl)aminomethane, for molecular biology, >=99.8% individual packagi9ng up to 1 kg | kg | 1
9.6. | Amonijev bikarbonat ultra biološke čistoće , >= 99.5% (T), pojedinačna pakiranja do 1 kg | Ammonium bicarbonate ultra biological purity, >= 99.5% (T), individual packaging up to 1 kg | kg | 1
9.7. | Dimetil sulfoksid za molekularnu biologiju, >=99.9%, pojedinačna pakiranja do 250 ml | Dimethyl sulfoxide for molecular biology, >=99.9%, individual packaging up to 250 ml | ml | 1000
9.8. | EDTA, Eetilendiamintetraoctena kiselina, natrijeva sol, ultra čist, prikladan za molekularnu biologiju, pojedinačno pakiranje do 0.5 kg | EDTA, Ethylenediaminetetraacetic Acid, Disodium Salt, UltraPure, Molecular Biology Grade, individual packaging up to 0.5 kg | g | 500
9.9. | Limunska kiselina monohidrat, krutina, ACS reagens, čistoće ≥99.0%, pakiranje do 500g. | Citric acid monohydrate, solid, ACS reagent, purity ≥99.0%. Packaging up to 500 g. | g | 500
9.10. | Trietilamin, tekućina, čistoće ≥99.5%, pakiranja do 100 ml. | Triethilyamine, liquid, purity ≥99.5%, packaging up to 100 ml. | ml | 300
TOTAL (bez PDVA) TOTAL (without VAT)
| Rok isporuke: (broj dana od dana izdavanja narudžbenice) |  |  |  | PDV / VAT
| Datum, mjesto: | M.P. Za ponuditelja: |  |  | TOTAL (s PDV-om) TOTAL (with VAT)
____________________