PRILOG 2 POZIVA NA DOSTAVU PONUDA

TROŠKOVNIK /

ANNEX 2 OF INVITATION TO TENDER

BILL OF QUANTITIES

Ev. broj nabave: / Procurement number: 05-2021-SCN

Predmet nabave: / Subject of procurement: Sustav pretvorbe energije baterijski spremnik <=> mreža (PCS)/ Power conversion system PCS (BESS  <=> grid)

| Predmet br. / Item | Predmet nabave / Subject of procurement | Nudi se / Is offered | Jedinica mjere / Unit | Količina / Quantity | Jedinična cijena EUR (bez PDV-a)* / Unit price in EUR net of VAT* | Ukupna cijena u EUR (bez PDV-a)*/ Total price in EUR net of VAT* |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| 1. | Sustav pretvorbe energije baterijski spremnik <=> mreža (PCS)/ Power conversion system PCS (BESS <=> grid) Tehnička specifikacija: Nominalna snaga: 490-550 kW Nominalni napon mreže: 400V (3f+N+PE); 50Hz Raspon mrežnog napona: 340 - 440V; 50Hz Raspon DC napona baterija: 430 - 790V Faktor snage (cos ): 0,55% - 1% Stupanj učinkovitosti: min 95 % Način hlađenja: zračno forsirano Temperaturno područje rada: -20 oC do + 50 oC Technical specification: Nominal power: 490 - 550 kW Nominal grid voltage: 400V (3f+N+PE); 50Hz Grid voltage range: 340 - 440V; 50Hz Battery voltage range: 430 - 790V DC Power factor (cos ): 0,55% - 1% Efficiency: min 95 % Cooling: Forced air Environment operating temperature: -20 oC to + 50 oC |  | kom / piece | 1 |  |  |
|  | Cijena ponude u EUR bez poreza na dodanu vrijednost*: / Total price in EUR net of VAT: |  |  |  |  |  |

U / In                               ,                    2023 . g.

ZA PONUDITELJA / ON BEHALF OF THE TENDERER:

________________________________________________.

(ime, prezime i potpis ovlaštene osobe) /

(Name, surname and signature of the authorised representative)