- PRILOG 2- TEHNIČKE SPECIFIKACIJE

Technical specification for small RNA sequencing service:

General specification:

Samples must be processed according to miND pipeline published in Khamina et al. Int. J. Mol. Sci. (2022): A MicroRNA Next-Generation-Sequencing Discovery Assay (miND) for Genome-Scale Analysis and Absolute Quantitation of Circulating MicroRNA Biomarkers.

Tehnička specifikacija za uslugu sekvenciranja male RNA:

Opće specifikacije:

Uzorci se moraju obraditi u skladu s miND protokolom objavljenim u “Khamina et al. Int. J. Mol. Sci. (2022.): A MicroRNA Next-Generation-Sequencing Discovery Assay (miND) for Genome-Scale Analysis and Absolute Quantitation of Circulating MicroRNA Biomarkers.”

- Specification for plasma samples:

Service must include minimally:

- 159x total RNA processed using Maxwell RNA Purification Kit.

- 159x small RNAseq library prep (RealSeq – Biofluids Single Indexing Library Preparation Kit).

- 4x pooling and size purification (BluePippin) and DNA library QC (Bioanalyzer DNA 1000 Chip).

- 2x Illumina NovaSeq SP Flowcell 100 cycles: estimated total of 1.500-1.600 M reads.

- Demultiplexing and quality filtering.

Data analysis service must include minimally:

- Trimming.

- Alignment to genome reference, miRbase, and RNACentral.

- Exploratory data analysis: unsupervised clustering by PCA and hierarchical clustering.

- Differential expression analysis (EdgeR/DeSeq2).

- Reporting and interpretation support.

Minimum service deliverables:

- Full data report and raw data.

- Results discussion via teleconference.

- Specifikacije za uzorke plazme:

Usluga mora uključivati ​​minimalno:

- 159x ukupna RNA obrađena korištenjem Maxwell RNA seta reagensa za pročišćavanje

- 159x priprema biblioteke male RNAseq (RealSeq – Biofluids Single Indexing Library Preparation Kit).

- 4x objedinjavanje i pročišćavanje veličine (BluePippin) i DNA biblioteka QC (Bioanalyzer DNA 1000 Chip).

- 2x Illumina NovaSeq SP Flowcell 100 ciklusa: procijenjeno ukupno 1500-1600 M očitavanja.

- Demultipleksiranje i filtriranje kvalitete

Usluga analize podataka mora uključivati ​​minimalno:

- Podrezivanje.

- Usklađivanje s referencom genoma, miRbase i RNACentral.

- Istraživačka analiza podataka: nenadzirano klasteriranje pomoću PCA i hijerarhijsko klasteriranje.

- Analiza diferencijalne ekspresije (EdgeR/DeSeq2).

- Podrška u izvješćivanju i tumačenju.

Minimalni rezultati usluge:

- Potpuni izvještaj s podacima uz isporuku neobrađeni podaci.

- Rasprava o rezultatima putem telekonferencije.

- Specification for synovial fluid samples

Wet-lab service must include minimally:

- 48/77x total RNA processed using Maxwell RNA Purification Kit.

- 48/77x small RNAseq library prep (RealSeq - Biofluids Single Indexing Library Preparation Kit).

- 1/2x pooling and size purification (BluePippin) and DNA library QC (Bioanalyzer DNA 1000 Chip).

- 0.75/1x Illumina NovaSeq SP Flowcell 100 cycles: estimated total of 650-800 M reads

- Demultiplexing and quality filtering.

Data analysis service “miND” must include minimally:

- Trimming.

- Alignment to genome reference, miRbase and RNACentral.

- Exploratory data analysis: unsupervised clustering by PCA and hierarchical clustering.

- Differential expression analysis (EdgeR/DeSeq2).

- Reporting and interpretation support.

Minimum service deliverables:

- Full data report and raw data.

- Results discussion via teleconference.

2. 	Specifikacija za uzorke sinovijalne tekućine

Usluga mora uključivati ​​minimalno:

- 48/77x  ukupna RNA obrađena korištenjem Maxwell RNA seta reagensa za pročišćavanje

- 48/77x priprema biblioteke male RNAseq (RealSeq – Biofluids Single Indexing Library Preparation Kit).

- 1/2x  objedinjavanje i pročišćavanje veličine (BluePippin) i DNA biblioteka QC (Bioanalyzer DNA 1000 Chip).

- 0,75/1x  Illumina NovaSeq SP Flowcell 100 ciklusa: procijenjeno ukupno 650-800 M očitavanja

- Demultipleksiranje i filtriranje kvalitete

Usluga analize podataka mora uključivati ​​minimalno:

- Podrezivanje.

- Usklađivanje s referencom genoma, miRbase i RNACentral.

- Istraživačka analiza podataka: nenadzirano klasteriranje pomoću PCA i hijerarhijsko klasteriranje.

- Analiza diferencijalne ekspresije (EdgeR/DeSeq2).

- Podrška u izvješćivanju i tumačenju.

Minimalni rezultati usluge:

- Potpuni izvještaj s podacima uz isporuku neobrađeni podaci.

- Rasprava o rezultatima putem telekonferencije.

- Specification for fat tissue samples

Wet-lab service must include minimally:

- 36x total RNA processed using Qiagen miRNeasy Mini kit with workflow to enhance RNA yield.

- 36x small RNAseq library prep (RealSeq – Biofluids Single Indexing Library Preparation Kit).

- 1x pooling and size purification (BluePippin) and DNA library QC (Bioanalyzer DNA 1000 Chip).

- 1x Illumina NovaSeq SP Lane 100 cycles: estimated total of 350 M reads.

- Demultiplexing and quality filtering.

Data analysis service must include minimally:

- Trimming.

- Alignment to genome reference, miRbase, and RNACentral.

- Exploratory data analysis: unsupervised clustering by PCA and hierarchical clustering.

- Differential expression analysis (EdgeR/DeSeq2).

- Reporting and interpretation support.

Minimum service deliverables:

- Full data report and raw data.

- Results discussion via teleconference.

3. 	Specifikacija za uzorke masnog tkiva

Usluga mora uključivati ​​minimalno:

- 36x ukupna RNK obrađena pomoću Qiagen miRNeasy Mini seta reagensa uz protokol za povećanje prinosa RNK.

- 36x priprema biblioteke male RNAseq (RealSeq – Biofluids Single Indexing Library Preparation Kit).

- 1x objedinjavanje i pročišćavanje veličine (BluePippin) i DNA biblioteka QC (Bioanalyzer DNA 1000 Chip).

- 1x Illumina NovaSeq SP Lane 100 ciklusa: procijenjeno ukupno 350 milijuna očitavanja.

- Demultipleksiranje i filtriranje kvalitete

Usluga analize podataka mora uključivati ​​minimalno:

- Podrezivanje.

- Usklađivanje s referencom genoma, miRbase i RNACentral.

- Istraživačka analiza podataka: nenadzirano klasteriranje pomoću PCA i hijerarhijsko klasteriranje.

- Analiza diferencijalne ekspresije (EdgeR/DeSeq2).

- Podrška u izvješćivanju i tumačenju.

Minimalni rezultati usluge:

- Potpuni izvještaj s podacima uz isporuku neobrađeni podaci.

- Rasprava o rezultatima putem telekonferencije.

By signing this form, we confirm that we will perform the service until December 1, 2023. / Potpisom ovog obrasca potvrđujemo da ćemo izvršiti uslugu do dana 01.12.2023. godine.

Datum: _____________2023. g.

M.P.          		                                               ZA  PONUDITELJA:

.

(ime, prezime i potpis ovlaštene osobe

za zastupanje gospodarskog subjekta)

)